## DOOM Input file data
ID | House_ID | DOOM Input File | Draw Profile | Number of Bedrooms | Heating Equipment Type w Efficiency | Heating Fuel | Heating Equipment Type | Cooling Equipment Type w Efficiency | Cooling Equipment Type | % Conditioned | Water Heating Equipment Type | Equipment Type | Number of Bedrooms | Water Heater Capacity (W) | Heating Equipment Size (W) | Cooling Equipment Size (W) | Supplemental Heating Size (W) | Load_name
1 | n1 | 1_rc_model.properties | DHW_3bed_unit0_1min.csv | 3 | None | None | None | None | None | 100 | Electric Standard | Tank | 3 | 11724 | 25383.2937 | 8875.1593 | 0 | load_1_p2ulv10359
2 | n2 | 2_rc_model.properties | DHW_5bed_unit0_1min.csv | 5 | Gas Furnace, 80% AFUE | Gas | Gas Furnace | None | None | 100 | Gas Standard | Tank | 5 | 4500 | 11140.5639 | 4411.098 | 0 | load_1_p2ulv34367
3 | n3 | 3_rc_model.properties | DHW_4bed_unit0_1min.csv | 4 | Gas Furnace, 76% AFUE | Gas | Gas Furnace | None | None | 100 | Gas Standard | Tank | 4 | 11137 | 13657.1699 | 14184.6398 | 0 | load_1_p2ulv10358
4 | n4 | 4_rc_model.properties | DHW_3bed_unit0_1min.csv | 3 | Gas Furnace, 76% AFUE | Gas | Gas Furnace | None | None | 100 | Gas Standard | Tank | 3 | 11724 | 19928.8328 | 5231.3388 | 0 | load_1_p2ulv10350
5 | n5 | 5_rc_model.properties | DHW_3bed_unit0_1min.csv | 3 | Gas Furnace, 80% AFUE | Gas | Gas Furnace | None | None | 100 | Gas Standard | Tank | 3 | 11724 | 8400.254 | 2884.8885 | 0 | load_1_p2ulv10349
6 | n6 | 6_rc_model.properties | DHW_4bed_unit0_1min.csv | 4 | Gas Furnace, 80% AFUE | Gas | Gas Furnace | AC, SEER 8 | AC | 100 | Gas Standard | Tank | 4 | 11724 | 17015.1144 | 6902.2912 | 0 | load_1_p2ulv10372
7 | n7 | 7_rc_model.properties | DHW_3bed_unit0_1min.csv | 3 | Gas Furnace, 76% AFUE | Gas | Gas Furnace | None | None | 100 | Gas Standard | Tank | 3 | 11724 | 6648.56 | 3318.4918 | 0 | load_1_p2ulv10371
8 | n8 | 8_rc_model.properties | DHW_4bed_unit0_1min.csv | 4 | None | None | None | FIXME Room AC, EER 10.7, 20% Conditioned | Room AC | 100 | Gas Standard | Tank | 4 | 11724 | 6844.7775 | 3191.0588 | 0 | load_1_p2ulv10370
9 | n9 | 9_rc_model.properties | DHW_2bed_unit0_1min.csv | 2 | Gas Wall/Floor Furnace, 68% AFUE | Gas | Gas Furnace | None | None | 100 | Gas Standard | Tank | 2 | 11724 | 19650.8353 | 5450.908 | 0 | load_1_p2ulv10369
10 | n10 | 10_rc_model.properties | DHW_3bed_unit0_1min.csv | 3 | None | None | None | None | None | 100 | Gas Standard | Tank | 3 | 11724 | 15776.7471 | 5281.9313 | 0 | load_1_p2ulv4847
11 | n11 | 11_rc_model.properties | DHW_3bed_unit0_1min.csv | 3 | Gas Furnace, 76% AFUE | Gas | Gas Furnace | FIXME Room AC, EER 10.7, 20% Conditioned | Room AC | 100 | Gas Standard | Tank | 3 | 11724 | 8062.539 | 2607.2653 | 0 | load_2_p2ulv10359
12 | n12 | 12_rc_model.properties | DHW_2bed_unit0_1min.csv | 2 | None | None | None | None | None | 100 | Gas Standard | Tank | 2 | 11724 | 26357.0028 | 6535.2712 | 0 | load_2_p2ulv34367
13 | n13 | 13_rc_model.properties | DHW_3bed_unit0_1min.csv | 3 | Gas Furnace, 80% AFUE | Gas | Gas Furnace | None | None | 100 | Gas Standard | Tank | 3 | 4500 | 13883.1005 | 3839.8304 | 0 | load_2_p2ulv10358
14 | n14 | 14_rc_model.properties | DHW_3bed_unit0_1min.csv | 3 | None | None | None | None | None | 100 | Gas Standard | Tank | 3 | 11724 | 12222.8069 | 4224.6432 | 0 | load_2_p2ulv10350
15 | n15 | 15_rc_model.properties | DHW_3bed_unit0_1min.csv | 3 | Gas Furnace, 76% AFUE | Gas | Gas Furnace | AC, SEER 8 | AC | 100 | Gas Standard | Tank | 3 | 11137 | 10198.8732 | 9642.0382 | 0 | load_2_p2ulv10349
16 | n16 | 16_rc_model.properties | DHW_3bed_unit0_1min.csv | 3 | Gas Furnace, 92.5% AFUE | Gas | Gas Furnace | FIXME Room AC, EER 10.7, 20% Conditioned | Room AC | 100 | Gas Standard | Tank | 3 | 11724 | 22821.8928 | 8727.0677 | 0 | load_2_p2ulv10372
17 | n17 | 17_rc_model.properties | DHW_4bed_unit0_1min.csv | 4 | Gas Furnace, 76% AFUE | Gas | Gas Furnace | AC, SEER 13 | AC | 100 | Gas Standard | Tank | 4 | 11724 | 13732.9989 | 4676.9383 | 0 | load_2_p2ulv10371
18 | n18 | 18_rc_model.properties | DHW_2bed_unit0_1min.csv | 2 | Gas Furnace, 80% AFUE | Gas | Gas Furnace | None | None | 100 | Gas Standard | Tank | 2 | 5500 | 22126.8658 | 1582.5838 | 0 | load_2_p2ulv10370
19 | n19 | 19_rc_model.properties | DHW_3bed_unit0_1min.csv | 3 | Gas Furnace, 76% AFUE | Gas | Gas Furnace | None | None | 100 | Gas Standard | Tank | 3 | 11724 | 16997.9967 | 4475.7159 | 0 | load_2_p2ulv10369
20 | n20 | 20_rc_model.properties | DHW_2bed_unit0_1min.csv | 2 | Gas Furnace, 92.5% AFUE | Gas | Gas Furnace | AC, SEER 13 | AC | 100 | Gas Standard | Tank | 2 | 11724 | 10280.3094 | 7925.1257 | 0 | load_2_p2ulv4847
21 | n21 | 21_rc_model.properties | DHW_4bed_unit0_1min.csv | 4 | Gas Furnace, 72% AFUE | Gas | Gas Furnace | AC, SEER 8 | AC | 100 | Gas Standard | Tank | 4 | 11724 | 8335.8022 | 3530.8865 | 0 | load_3_p2ulv10359
22 | n22 | 22_rc_model.properties | DHW_3bed_unit0_1min.csv | 3 | Gas Furnace, 80% AFUE | Gas | Gas Furnace | FIXME Room AC, EER 8.5, 20% Conditioned | Room AC | 100 | Gas Standard | Tank | 3 | 10550 | 16763.6652 | 9143.8174 | 0 | load_3_p2ulv34367
23 | n23 | 23_rc_model.properties | DHW_2bed_unit0_1min.csv | 2 | Gas Furnace, 76% AFUE | Gas | Gas Furnace | AC, SEER 10 | AC | 100 | Gas Standard | Tank | 2 | 4500 | 14653.5535 | 10023.0306 | 0 | load_3_p2ulv10358
24 | n24 | 24_rc_model.properties | DHW_3bed_unit0_1min.csv | 3 | Gas Wall/Floor Furnace, 60% AFUE | Gas | Gas Furnace | None | None | 100 | Gas Standard | Tank | 3 | 11724 | 8132.1494 | 3070.1178 | 0 | load_3_p2ulv10350
25 | n25 | 25_rc_model.properties | DHW_3bed_unit0_1min.csv | 3 | Gas Furnace, 80% AFUE | Gas | Gas Furnace | AC, SEER 10 | AC | 100 | Gas Standard | Tank | 3 | 11724 | 11105.5964 | 4166.3973 | 0 | load_3_p2ulv10349
26 | n26 | 26_rc_model.properties | DHW_5bed_unit0_1min.csv | 5 | Gas Furnace, 80% AFUE | Gas | Gas Furnace | None | None | 100 | Gas Standard | Tank | 5 | 11724 | 5898.7508 | 2502.8687 | 0 | load_3_p2ulv10372
27 | n27 | 27_rc_model.properties | DHW_3bed_unit0_1min.csv | 3 | None | None | None | AC, SEER 10 | AC | 100 | Gas Standard | Tank | 3 | 11724 | 13895.9013 | 4991.8553 | 0 | load_3_p2ulv10371
28 | n28 | 28_rc_model.properties | DHW_3bed_unit0_1min.csv | 3 | Gas Furnace, 80% AFUE | Gas | Gas Furnace | AC, SEER 13 | AC | 100 | Gas Standard | Tank | 3 | 5500 | 36194.2771 | 21892.4089 | 0 | load_3_p2ulv10370
29 | n29 | 29_rc_model.properties | DHW_3bed_unit0_1min.csv | 3 | Gas Furnace, 80% AFUE | Gas | Gas Furnace | None | None | 100 | Gas Standard | Tank | 3 | 11724 | 10067.6613 | 6454.9004 | 0 | load_3_p2ulv10369
30 | n30 | 30_rc_model.properties | DHW_3bed_unit0_1min.csv | 3 | Gas Furnace, 80% AFUE | Gas | Gas Furnace | AC, SEER 8 | AC | 100 | Gas Standard | Tank | 3 | 11724 | 9815.344 | 4046.7914 | 0 | load_3_p2ulv4847
31 | n31 | 31_rc_model.properties | DHW_3bed_unit0_1min.csv | 3 | Gas Furnace, 76% AFUE | Gas | Gas Furnace | None | None | 100 | Gas Standard | Tank | 3 | 11724 | 9815.344 | 4046.7914 | 0 | load_4_p2ulv10359
32 | n32 | 32_rc_model.properties | DHW_3bed_unit0_1min.csv | 3 | Gas Furnace, 80% AFUE | Gas | Gas Furnace | None | None | 100 | Gas Standard | Tank | 3 | 11724 | 9815.344 | 4046.7914 | 0 | load_4_p2ulv34367
33 | n33 | 33_rc_model.properties | DHW_5bed_unit0_1min.csv | 5 | Gas Furnace, 76% AFUE | Gas | Gas Furnace | AC, SEER 13 | AC | 100 | Gas Standard | Tank | 5 | 11724 | 9815.344 | 4046.7914 | 0 | load_4_p2ulv10358
34 | n34 | 34_rc_model.properties | DHW_3bed_unit0_1min.csv | 3 | Gas Furnace, 76% AFUE | Gas | Gas Furnace | AC, SEER 8 | AC | 100 | Gas Standard | Tank | 3 | 11724 | 9815.344 | 4046.7914 | 0 | load_4_p2ulv10350
35 | n35 | 35_rc_model.properties | DHW_5bed_unit0_1min.csv | 5 | Gas Wall/Floor Furnace, 68% AFUE | Gas | Gas Furnace | AC, SEER 13 | AC | 100 | Gas Standard | Tank | 5 | 11724 | 9815.344 | 4046.7914 | 0 | load_4_p2ulv10349
36 | n36 | 36_rc_model.properties | DHW_3bed_unit0_1min.csv | 3 | Gas Wall/Floor Furnace, 60% AFUE | Gas | Gas Furnace | AC, SEER 10 | AC | 100 | Gas Standard | Tank | 3 | 11724 | 9815.344 | 4046.7914 | 0 | load_4_p2ulv10372
37 | n37 | 37_rc_model.properties | DHW_3bed_unit0_1min.csv | 3 | Gas Furnace, 76% AFUE | Gas | Gas Furnace | AC, SEER 10 | AC | 100 | Gas Standard | Tank | 3 | 11724 | 9815.344 | 4046.7914 | 0 | load_4_p2ulv10371
38 | n38 | 38_rc_model.properties | DHW_4bed_unit0_1min.csv | 4 | Gas Furnace, 76% AFUE | Gas | Gas Furnace | AC, SEER 13 | AC | 100 | Electric Standard | Tank | 4 | 11724 | 9815.344 | 4046.7914 | 0 | load_4_p2ulv10370
39 | n39 | 39_rc_model.properties | DHW_4bed_unit0_1min.csv | 4 | None | None | None | None | None | 100 | Electric Standard | Tank | 4 | 11724 | 9815.344 | 4046.7914 | 0 | load_4_p2ulv10369
40 | n40 | 40_rc_model.properties | DHW_3bed_unit0_1min.csv | 3 | None | None | None | AC, SEER 10 | AC | 100 | Gas Standard | Tank | 3 | 11724 | 9815.344 | 4046.7914 | 0 | load_4_p2ulv4847